## Slide 1
CMOS: DESY test beam with TJ MALTA
F9 Weekly, Ljubljana, 19.04.2019
Bojan Hiti, F9, Jozef Stefan Institute

## Slide 2: TowerJazz (Mini)MALTA
TowerJazz: Small collecting electrode
Second submission of monolithic CMOS pixel detector
  MALTA C – pixels modification to improve charge collection
  MiniMALTA – smaller test chip with different pixel modifications and readout changes
    64 x 16 pixels
MiniMALTA was DUT in DESY test beam

## Slide 3: MiniMALTA
16 x 16 pixels per sector

## Slide 4: Test beam setup
DRY ICE BRICKS
Beam dump
MALTA C as anchor module
General Broken Line track fitting algorithm

## Slide 5: Timing efficiency
very preliminary, to be investigated

## Slide 6: Efficiency example 1e15
extra deep pwell
n-gap
standard pixel
enlarged transistors
Very preliminary, track reconstruction still to be improved

## Slide 7: Noise/threshold example 1e15

## Slide 8: Efficiency example 2e15

## Slide 9: 7e14 proton irradiated (ELSA, Bonn)

## Slide 10: Conclusion
Changes in pixel architecture improve charge collection after irradiation
  n-gap and extra deep pwell implant beneficial
  Reduced noise and threshold due to larger transistors
1e15: 95 %
2e15: 85 %
Massive drop in efficeincy after 2e15