## Slide 1: Core shipment option 1
Scientifica
CERN
JSI (Ljubljana)
DESY (HH)
IFIC (Valencia)
DESY (HH)
Freiburg
TRIUMF (Vancouver)
IFIC (Valencia)
DESY (HH)
Nikhef (Amsterdam)
ATLAS @CERN
100%
50%
50%
25%
25%
25%
(25%)
(25%)
25%
25%
25%
Endcap A
Endcap C
50%
Advantages
Agreed flow with Scientifica
Disadvantage
IFIC needs to send petals back and forth to/from Ljubljana
Percentages always refer to total number of petal cores (~400)
In parentheses they are not really shipments
DESY can test 50% of the completed cores and Ljubljana the other 50% (last step of QC)
Alternatively, DESY can still ship all the Freiburg cores to Ljubljana for test, but that would increase shipments significantly

## Slide 2: Core shipment option 2
Scientifica
CERN
JSI (Ljubljana)
DESY (HH)
IFIC (Valencia)
DESY (HH)
Freiburg
TRIUMF (Vancouver)
IFIC (Valencia)
DESY (HH)
Nikhef (Amsterdam)
ATLAS @CERN
100%
100%
50%
50%
25%
25%
(25%)
(25%)
(25%)
25%
25%
25%
Endcap A
Endcap C
Advantages
Electrical QC much less time than thermo-mechanical, less time wasted on defective objects if mistake spotted on bus tape
Disadvantage
Scientifica needs to accept that bad cores can be spotted at three different places, with shipments in between
Percentages always refer to total number of petal cores (~400)
In parentheses they are not really shipments
Ljubljana tests 100% of the completed cores (1st step of QC)

## Slide 3
Core shipment option 3
Scientifica
CERN
JSI (Ljubljana)
DESY (HH)
IFIC (Valencia)
DESY (HH)
Freiburg
TRIUMF (Vancouver)
IFIC (Valencia)
DESY (HH)
Nikhef (Amsterdam)
ATLAS @CERN
100%
25%
50%
25%
25%
25%
(25%)
(25%)
(25%)
25%
25%
25%
Endcap A
Endcap C
Advantages
Electrical QC much less time than thermo-mechanical, less time wasted on defective objects if mistake spotted on bus tape
25% of cores will be shipped to DESY and stay there (less shipmenmt)
Disadvantage
Scientifica needs to accept that bad cores can be spotted at three different places, with shipments in between
Percentages always refer to total number of petal cores (~400)
In parentheses they are not really shipments
Ljubljana tests 75% of the completed cores (1st step of QC)
75%