## Slide 1
HGTD preproduction
IJS internal HGTD meeting, 11 October 2023
Bojan Hiti

## Slide 2: Irradiation Tests
Gitlab repository with scripts for Irradiation Test analysis
  https://gitlab.com/bhiti/f9-hgtd-qc-analysis
  Currently only TCT analysis, will be expanded with other activities (QCTS testing, flex tail testing)
  A more central repository (not my private) would be more sensible
    Suggest a “F9-software” repo with one subdirectory “F9-HGTD-production”
Irradiation tests are now ongoing – GOOD BOOKKEEPING & ORGANIZATION is essential !
  Internal F9 spreadsheet with IT TCT summary
    https://docs.google.com/spreadsheets/d/1um1xUsOMzj5rGVuCReQqf53B1h4MXAHaCTQQISyXkPY/edit?invite=CNeZ2J8O#gid=0
    Screenshot on next slide
    Should also be used for IV-CV summary?
  Uploading to HGTD database needs to be started
    Need to prepare an example file for Marco Leite – name of the person here
  Organized storage of samples in the freezer
    Currently using plastic boxes, preparing a bigger case for tested samples
  When mounting samples make sure sample name is written on its board/box, otherwise risking mix-up
Should we have a repository with “f9 approved plots” for quick accessing for presentations ?

## Slide 3: F9 internal spreedsheet

## Slide 4: HGTD database TCT fields proposal
Propose following data to enter into official HGTD database for TCT IT
  Wafer
  Reticle
  Fluence
  Temperature
  Vgl
  Vfd
  I leak at 100 V
  Gain at 100 V (?)