## Slide 1: USTC_W3-19_0e14_main sensor test
Recycled main sensor from LTS study
Mounted on Santa Cruz board
  Col 3 Row 2 to signal
  All other pixels + guard ring to GND
- 30 C
Analysis done this morning, needs a little refining

## Slide 2
Bad fit
Charge MPV (not corrected for 1 fC)
Vbd criterion approx. 1 uA at -30 C
Leakage current

## Slide 3
Noise
Time Resolution