## Slide 1: TPA-TCT at IJS
Ajda Osterman
Mentor: dr. Bojan Hiti
6. 2. 2026

## Slide 2: Setup
TPA laser, λ = 1550 nm
DUTs: W317, CNM W7-16-U; n = 3.48

## Slide 3: Gaussian beam
Important parameters:
w0 - beam waist at narrowest point
()
z0 (or zR) - Rayleigh length ()

## Slide 4: Z scan
DUT: CNM W7-16-U (d = 280 μm)
Fit function:
Calculated w0:

## Slide 5: X-Z scan
Fit f(x) for each z → get w(z)
Fit w(z’)
DUT: W317
Calculated w0 = 1.3 μm

## Slide 6: X-Z scan - CNM
DUT: CNM W7-16-U
Calculated w0 = 1.5 μm

## Slide 7: Collected charge vs laser power
TPA: Q ∝ I2

## Slide 8: Thank you for your attention.

## Slide 9
Gaussian beam:
z’/z:

## Slide 10
CNM W7-16-U
W317